The access to building K (Fatburger Richmond) roof is through Wal-Mart Customer Service deck. 

Please call CGC Security 778.554.0155 to meet and complete the sign-in protocol in Fatburger Richmond store and then Security will lead your crew to Walmart Customer Service for seeking access to Building K roof . 

Our CGC East Parcel consisting Building K, J, W, M are interconnected as one single fire alarm system installed by Chubb Edwards, we need you seek Chubb Edwards help in operating the fire control panel and the monitoring station for your Fire Suppression System Test. 
In case of any avoidable RFR fire engine dispatch, The City of Richmond RFR will issue a penalty invoice to Landlord which will be then charged back ( with Administration fee) to the respective Tenant who had caused fire engine dispatch. 

Chubb Edwards contact : 
Field Service Dispatch: Blair Geekie at 604.296.7122. blair.geekie@chubbedwards.com 
Fire Solutions Rep: Leigh Elliott at 604.787.4599. leigh.elliott@chubbedwards.com

Concerning your Fire Suppression Test which is to be held after Kitchen Exhaust Hood Cleaning, please confirm date and time of this test which should be completed before mall opening at 8:00AM and you team is required to alert all the earlier opened stores in East Parcel in person before any fire bell testing.
If you have any question, please let me know.